	LIST OF FIRE DAMAGED ITEMS FOR SALE,  AT M/S R.P. FOAM HOME (P) LTD., VILLAGE – CHITHEDHA, MAIN G.T. ROAD, TEHSIL - DADRI, DISTRICT – GAUTAM BUDH NAGAR , UTTAR PRADESH.

	
	
	
	

	Sr.No.
	Item Description
	Estimated                 Quantity

	 
	 
	Unit
	Quantity

	 
	 
	 
	 

	 
	 
	 
	 

	1.0
	Building Shed :
	 
	 

	 
	 
	 
	 

	1.1
	Building Shed with steel columns, steel trusses & purlins, steel profile sheets etc. (excluding foundations) with column height 12.50 Mtrs., Area 2140 Sq.M.
	Sq.M
	2140

	 
	 
	 
	 

	1.2
	Building Shed with steel columns, steel trusses & purlins, steel profile sheets etc. (excluding foundations) with column height 6.0 Mtrs., area 1000 Sq.M
	Sq.M
	1000

	 
	 
	 
	 

	1.3
	Steel sheet channel for water drainage
	Kg.
	1350

	 
	 
	 
	 

	2.0
	Plant & Machinery :
	 
	 

	 
	 
	 
	 

	2.1
	Rail Line of overhead Crane
	Kg.
	19000

	2.2
	Rebonding Foam Plant
	Kg.
	9000

	2.3
	Vertical Block Cutting Machine
	Kg.
	1000

	2.4
	Air Compressor - 2 Nos.
	Kg.
	500

	2.5
	Tape Edge Machine
	Kg.
	500

	2.6
	Weighing scales, pumps, cutters, air dryer, tables, etc.
	Kg.
	250

	 
	 
	 
	 

	3.0
	Electrical Items :
	 
	 

	 
	 
	 
	 

	3.1
	Aluminum armoured cable, 3.5 core, 150 Sq.mm
	Mtr.
	110

	3.2
	Aluminum armoured cable, 3.5 core, 50 Sq.mm
	Mtr.
	170

	3.3
	Copper cable, 4 core, 10 Sq.mm
	Mtr.
	125

	3.4
	Copper cable - 4 core, 6 Sq.mm
	Mtr.
	220

	3.5
	PVC Copper wire 1.5 Sq.mm
	Mtr.
	1780

	3.6
	PVC Copper wire 1 Sq.mm
	Mtr.
	420

	3.7
	LT Control Panel
	No.
	1

	 
	 
	 
	 

	4.0
	Electrical fittings :
	 
	 

	 
	 
	 
	 

	4.1
	Ceiling Fan 48"
	No.
	3

	4.2
	Tube lights double
	No.
	22

	4.3
	Tube lights double
	No.
	24

	4.4
	Mercury Light
	No.
	14

	 
	 
	 
	 

	5.0
	Misc. scap
	Lot
	Lot

	 
	 
	 
	 


